# WaveCrest Quality Management System

## Policy Document

### Version Control

| Policy Code: | WQMS-HSEC-122-2025 |
| --- | --- |
| Policy Title: | Fire Safety & Evacuation Policy |
| Version: | 1.0 |
| Date Issued: | 10 September 2025 |
| Next Review Date: | 10 September 2026 |
| Approved By: | ___________________ |

### 1. Purpose

The purpose of this policy is to minimize fire risks and establish clear evacuation procedures to protect life and property.

### 2. Scope

This policy applies to all company facilities, employees, contractors, and visitors.

### 3. Definitions

- Fire Safety: Measures to prevent, detect, and respond to fire hazards.
- Evacuation: The organized movement of people from danger to safety.

### 4. Policy Statements

1. Fire prevention measures must be in place in all facilities.
2. Fire alarms, extinguishers, and suppression systems must be maintained.
3. Evacuation routes and assembly points must be clearly marked.
4. Fire drills must be conducted at least twice a year.
5. Employees must be trained in the use of fire extinguishers and evacuation procedures.

### 5. Procedures

- Install and maintain fire detection and suppression systems.
- Conduct fire risk assessments regularly.
- Display evacuation maps in all areas.
- Train fire wardens in each department.
- Conduct and evaluate evacuation drills.

### 6. Responsibilities

- Executive Management: Approve fire safety framework.
- Safety Officer: Oversee fire safety systems.
- Supervisors: Ensure staff participate in drills.
- Employees: Follow fire safety rules.
- Security Guards: Support evacuation procedures.

### 7. Review & Amendments

This policy shall be reviewed annually or following major incidents or changes in operations. Amendments must be approved by Executive Management.

WaveCrest Quality Management System – HRTest © 2025
Policy Code: WQMS-HSEC-122-2025