# WaveCrest Quality Management System

## Policy Document

Policy Code: WQMS-HSEC-HAZW-010-2025

Policy Title: Handling of Hazardous Waste Policy

## Version Control

| Version: | 1.0 |
| --- | --- |
| Date Issued: | August 2025 |
| Next Review Date: | August 2026 |
| Approved By: | ___________________ |

## 1. Purpose

The purpose of this policy is to establish safe, environmentally responsible, and legally compliant practices for the handling, storage, transport, and disposal of hazardous waste.

## 2. Scope

This policy applies to all employees, contractors, and service providers involved in the generation, handling, storage, transportation, or disposal of hazardous waste materials at company sites.

## 3. Definitions

- Hazardous Waste: Any waste material that poses a threat to human health or the environment due to its chemical, physical, or biological properties.
- Hazardous Waste Container: Approved storage container for hazardous waste materials.
- Licensed Disposal Contractor: Certified third party authorized to transport and dispose of hazardous waste.

## 4. Policy Statements

1. All hazardous waste must be identified, labeled, and segregated at the point of generation.
2. Employees must use designated hazardous waste containers and avoid mixing incompatible waste.
3. Storage of hazardous waste must be in approved, secure, and ventilated areas with secondary containment.
4. Hazardous waste must be transported and disposed of only through licensed contractors.
5. Disposal records must be maintained for all hazardous waste removed from company premises.
6. Spill prevention and emergency response plans must be in place for hazardous waste storage areas.
7. Regular training must be provided to all employees involved in hazardous waste management.

## 5. Procedures

- Generation: Identify and classify all hazardous waste streams.
- Collection: Place hazardous waste into approved, labeled containers immediately after generation.
- Storage: Store containers in designated areas with restricted access, spill kits, and proper signage.
- Transport: Arrange collection only with licensed contractors and ensure compliance with legal requirements.
- Disposal: Complete waste manifest forms, keep certificates of disposal, and file documentation.
- Emergency Response: Follow the hazardous waste spill response plan in case of leaks or accidents.

## 6. Responsibilities

- Employees: Follow procedures for safe handling, segregation, and labeling.
- Supervisors: Ensure compliance with this policy and arrange proper disposal.
- HSEC Department: Monitor waste management practices, maintain disposal records, and conduct inspections.
- Management: Approve contractors, allocate resources, and review reports on hazardous waste management.

## 7. Review & Amendments

This policy will be reviewed annually or following any regulatory changes or significant incidents involving hazardous waste.

WaveCrest Quality Management System – HRTest © 2025
Policy Code: WQMS-HSEC-HAZW-010-2025