# WaveCrest Quality Management System

## Policy Document

Policy Code: WQMS-OPS-MFP-043-2025

Policy Title: Maintenance & Facilities Policy

## Version Control

| Version: | 1.0 |
| --- | --- |
| Date Issued: | August 2025 |
| Next Review Date: | August 2026 |
| Approved By: | ___________________ |

## 1. Purpose

The purpose of this policy is to ensure that all company facilities, buildings, utilities, and infrastructure are maintained to a high standard, ensuring safety, functionality, and sustainability.

## 2. Scope

This policy applies to all physical facilities including offices, warehouses, production plants, utilities, and supporting infrastructure managed or leased by the company.

## 3. Definitions

- Facilities: Buildings, premises, and supporting infrastructure used for operations.
- Preventive Maintenance: Scheduled maintenance to prevent breakdowns and extend asset life.
- Corrective Maintenance: Repairs carried out after a breakdown or failure.
- Facility Manager: The person responsible for facility upkeep and operations.

## 4. Policy Statements

1. All company facilities must be safe, functional, and compliant with legal and regulatory requirements.
2. Preventive maintenance schedules must be created and followed.
3. Emergency repairs must be addressed promptly to minimize disruption.
4. All maintenance activities must be recorded and monitored.
5. Contractors used for maintenance must meet company safety and quality standards.
6. Energy and resource efficiency must be prioritized in facility management.
7. Employees must report facility-related issues immediately.
8. Security and access control must be maintained for all facilities.

## 5. Procedures

- Scheduling: Develop preventive maintenance plans for all critical systems.
- Reporting: Employees must log maintenance requests via the approved system.
- Emergency Response: Establish procedures for urgent repairs and emergencies.
- Record-Keeping: Maintain records of all maintenance activities.
- Inspections: Conduct periodic inspections of facilities.
- Contractor Management: Only qualified contractors may carry out facility maintenance.
- Sustainability: Implement energy-saving and waste-reduction practices.

## 6. Responsibilities

- Facility Manager: Ensure implementation of maintenance schedules and compliance.
- Department Heads: Report facility needs and ensure staff follow procedures.
- Employees: Report facility issues promptly.
- Procurement: Source reliable maintenance contractors.
- Internal Audit/Compliance: Conduct facility audits and reviews.

## 7. Review & Amendments

This policy will be reviewed annually or when significant changes occur in facility management practices or infrastructure requirements.

WaveCrest Quality Management System – HRTest © 2025
Policy Code: WQMS-OPS-MFP-043-2025