# WaveCrest Quality Management System

## Policy Document

### Version Control

| Policy Code: | WQMS-SEC-109-2025 |
| --- | --- |
| Policy Title: | Security Technology Policy |
| Version: | 1.0 |
| Date Issued: | 10 September 2025 |
| Next Review Date: | 10 September 2026 |
| Approved By: | ___________________ |

### 1. Purpose

The purpose of this policy is to regulate the use, implementation, and upgrading of security technology to enhance protection of company assets.

### 2. Scope

This policy applies to all electronic and mechanical security technologies used across company facilities.

### 3. Definitions

- Security Technology: Devices such as CCTV, biometrics, alarm systems, drones, and access systems.

### 4. Policy Statements

1. Security technology must be selected based on risk assessments.
2. All systems must be tested and maintained regularly.
3. Technology must comply with legal and privacy requirements.
4. Emerging technologies shall be evaluated before deployment.
5. Integration with existing systems must be ensured.

### 5. Procedures

- Conduct risk-based assessments before technology procurement.
- Maintain service contracts and preventive maintenance schedules.
- Test systems periodically and document results.
- Train users on proper system operation.
- Upgrade outdated technologies in phases.

### 6. Responsibilities

- Executive Management: Approve technology investments.
- Security Manager: Select and oversee technology implementation.
- IT Department: Support system integration.
- Security Staff: Operate and monitor systems.
- Internal Audit: Evaluate effectiveness of technologies.

### 7. Review & Amendments

This policy shall be reviewed annually or following major incidents or changes in operations. Amendments must be approved by Executive Management.

WaveCrest Quality Management System – HRTest © 2025
Policy Code: WQMS-SEC-109-2025